## Slide 1
EG 207 FA21 Instrumentation and Measurement
Climate Change Monitoring System
Critical Design Review
Section/Team:
Members:

## Slide 2: CDR Agenda
Concept of Operations (ConOps) Summary
Environmental System Description
Environmental Sensors
Requirements Compliance
Front Panel Display, Baseplate and Housing Design Details
Summary of Analyses
Calibration Plan
References/Citations
Next Steps

## Slide 3: Concept of Operations (ConOps) Summary
[Bulleted list of ConOps – Stakeholders, Users, Operational description including physical environment, support environment, use, calibration, impact considerations and risks]
[Flow chart showing data collection and decision-making processing]
[CDR versions should be corrected with more detail provided in this version]

## Slide 4: Environmental System Description
[Functional Block Diagram of System…..if use LabVIEW, please integrate comments in large font for better description and understanding. Use a single slide for LV Block Diagram for legibility.]
Instrument: LabVIEW 2020
Data Acquisition: [Specify Arduino board model]
DAC Software: Arduino [Specify Version]
Sensors:
  Temp/RH: [Specify Model]
  Visible Light: [Specify Model]
  UV Light: [Specify Model]
  Water Collection: [Specify Model]

## Slide 5: Environmental Sensors & Interfaces
[Show picture of Temp/RH sensor along with circuit diagrams for sensor setup with your Arduino board]
[Show picture of Visible Light sensor along with circuit diagrams for sensor setup with your Arduino board]
[Show picture of UV Light sensor along with circuit diagrams for sensor setup with your Arduino board]
[Show picture of Water Collection sensor along with circuit diagrams for sensor setup with your Arduino board]
[Also show published accuracy, precision and response specifications for each sensor]

## Slide 6: Functional Requirements – Compliance [Reference: CETA-SPEC-0003 Rev. D, Section 3.1]
Reqt. ID or Section | Reqt. Title | Statement Subject | Reqt Value | Performance | Margin | Notes/Basis
3.1.1 | VI Front Panel |  |  |  |  | 
3.1.1.1 | Sensor Read & Indications | Numeric Indicators, "Warning" and "Alarm" LEDs | Provide for all Sensors | [Comply or Does Not Comply] | [% or ‘N/A’] | [Additional info]
3.1.1.2 | Sensor Controls | Provide necessary controls | Arduino Power and STOP | [Comply or Does Not Comply] | [% or ‘N/A’] | [Additional info]
3.1.1.3 | Operation Indications | Display current system configuration and operating mode | LEDs for Indication | [Comply or Does Not Comply] | [% or ‘N/A’] | [Additional info]
3.1.1.4 | Calibration Updates | Update Calibration Parameters through LabVIEW | Photoresistor and Water | [Comply or Does Not Comply] | [% or ‘N/A’] | [Additional info]
3.1.2 | Update/Read Rate | Read rate consistent with sensor response and minimum noise | [Specify Required Rate] | [Estimate system rate] | [% or ‘N/A’] | [Additional info]
[Note: The project team shall provide values for bracketed [] items. If requirement is qualitative, performance should be specified as ‘Complies’ or ‘Does Not Comply’. In this case, the margin should be ‘N/A’. See Backup Slides for Margin calculation]

## Slide 7: Functional Requirements – Compliance [Reference: CETA-SPEC-0003 Rev. D, Section 3.1]
Reqt. ID or Section | Reqt. Title | Statement Subject | Reqt Value | Performance | Margin | Notes/Basis
3.1.3 | Warning and Alarm Indication | Provide warning or alarm indication for each sensor |  |  |  | 
3.1.3.1 | Temperature | Provide temperature warning or alarm indication | [Specify limits in Specification] | [Comply or Does Not Comply] | [% or ‘N/A’] | [Additional info]
3.1.3.2 | Humidity | Provide temperature warning or alarm indication | [Specify limits in Specification] | [Comply or Does Not Comply] | [% or ‘N/A’] | [Additional info]
3.1.3.3 | Visible Light | Provide temperature warning or alarm indication | [Specify limits in Specification] | [Comply or Does Not Comply] | [% or ‘N/A’] | [Additional info]
3.1.3.4 | UV Light | Provide temperature warning or alarm indication | [Specify limits in Specification] | [Comply or Does Not Comply] | [% or ‘N/A’] | [Additional info]
3.1.3.5 | Water Level | Provide temperature warning or alarm indication | [Specify limits in Specification] | [Comply or Does Not Comply] | [% or ‘N/A’] | [Additional info]
[Note: The project team shall provide values for bracketed [] items. If requirement is qualitative, performance should be specified as ‘Complies’ or ‘Does Not Comply’. In this case, the margin should be ‘N/A’. See Backup Slides for Margin calculation]

## Slide 8: Functional Requirements – Compliance [Reference: CETA-SPEC-0003 Rev. D, Section 3.1]
Reqt. ID or Section | Reqt. Title | Statement Subject | Reqt Value | Performance | Margin | Notes/Basis
3.1.4 | Waveform Display | Display waveforms for sensors | Display for 2 Sensors | [Comply or Does Not Comply] | [% or ‘N/A’] | [Additional info]
3.1.5 | Data Logging | Time-stamped data exported to file with specific filename | Every 8-hour shift | [Estimate system logging capability] | [% or ‘N/A’] | [Additional info]
3.1.6 | Operational Modes | Provide additional mode | Diagnostic or Calibration | [Comply or Does Not Comply] | [% or ‘N/A’] | [Additional info]
[Note: The project team shall provide values for bracketed [] items. If requirement is qualitative, performance should be specified as ‘Complies’ or ‘Does Not Comply’. In this case, the margin should be ‘N/A’. See Backup Slides for Margin calculation]

## Slide 9: Performance Requirements – Compliance [Reference: CETA-SPEC-0003 Rev. D, Section 3.2]
Reqt. ID or Section | Reqt. Title | Statement Subject | Reqt Value | Performance | Margin | Notes/Basis
3.2.1 | Accuracy | Accuracy better than; |  |  |  | 
 |  | Temperature | ± 2.5 °C | [Measure] | [Compute] | [Additional info]
 |  | Humidity | ± 7% | [Measure] | [Compute] | [Additional info]
 |  | Vis Illuminance | ± 10% | [Measure] | [Compute] | [Additional info]
 |  | UV Intensity | N/A | N/A | N/A | N/A
 |  | Range Detection | ± 1 mm | [Measure] | [Compute] | [Additional info]
3.2.2 | Precision | Precision better than; |  |  |  | 
 |  | Temperature | 2 °C | [Measure] | [Compute] | [Additional info]
 |  | Humidity | 2 % | [Measure] | [Compute] | [Additional info]
 |  | Vis Illuminance | 20 lux | [Measure] | [Compute] | [Additional info]
 |  | UV Intensity | N/A | N/A | N/A | N/A
 |  | Range Detection | 0.2 mm | [Measure] | [Compute] | [Additional info]
[Note: The project team shall provide values for bracketed [] items. If requirement is qualitative, Performance should be specified as ‘Complies’ or ‘Does Not Comply’. In this case, the margin should be ‘N/A’. See backup slides for margin calculation.]

## Slide 10: Performance Requirements – Compliance [Reference: CETA-SPEC-0003 Rev. D, Section 3.2]
Reqt. ID or Section | Reqt. Title | Statement Subject | Reqt Value | Performance | Margin | Notes/Basis
3.2.3 | Calibration or Diagnostics | The display shall provide ability to update calibration | Update via numerical controls | [Comply or Does Not Comply] | [% or ‘N/A’] | [Additional info]
[Note: The project team shall provide values for bracketed [] items. If requirement is qualitative, Performance should be specified as ‘Complies’ or ‘Does Not Comply’. In this case, the margin should be ‘N/A’. See backup slides for margin calculation.]

## Slide 11: Front Panel Display Design (LabVIEW)
[List the display type for each environmental variable. Also identify the control functions available on your display. Display should be organized]
[Show your display design by placing large image of LabVIEW front panel here]

## Slide 12: Sensor Package Assembly Model
[Show Assembly Model here with callouts or include a BOM. Utilize as much slide space as possible for legibility]

## Slide 13: Baseplate Design Drawing
[Show Baseplate drawing here. Utilize as much slide space as possible for legibility. Identify quantity and length of #6-32UNC and M2.5 fasteners required to assembly your package. If your baseplate has been fabricated, show a picture of it]

## Slide 14: Housing Design – Solid Model
[Show graphic of Inventor® solid model of Housing Design......include callouts of primary features (apertures, etc, clearance holes, etc.)]

## Slide 15: Housing Design - Drawing
[Show Inventor® Housing design drawing here. Occupy as much of this slide area as possible. Must be dimensioned properly]

## Slide 16: List and Summary of Analyses
[List all specific analyses performed in support of requirements compliance. Identify the team member who performed each analysis. The Project team leader should coordinate analysis assignments within each team]

## Slide 17: Calibration Plan
[Describe how you intend to calibrate sensors including its impact on the design, time interval between calibrations and related diagnostic functions that your system provides]

## Slide 18: References/Citations
[A numbered list of all reference materials used in your conceptual design. Include all datasheets, handbooks, drawings, slide files, etc.]

## Slide 19: Next Steps
[Bulleted list of next actions which need to occur to complete the system development]

## Slide 20: Backup Slides

## Slide 21: Margin
Margin (%) = x 100
Margin is:
  A measure of project team technical performance
  Calculated only for quantitative requirements
  Especially important for expressing degree to which performance and resource requirements are satisfied